## Slide 1: SOLAR POWER PLANT ANALYTICS
Identifying degraded panels throughout the system
Rohit Kumar Gupta Data Analyst | Power & Energy Analytics

## Slide 2: Business Context
Solar Power plants management system relies on solar panel performance, to schedule panel & inverter maintenance.
This ensures smooth power generation by the unit without much power losses or low efficiency.
Persistent underperformance of solar panels can lead to unmet power demand &/or AC Power bottlenecking in peak generation hours.

## Slide 3: Business Problem
A solar power plant operator in India is facing significant drop in efficiency of the plant.
Objective:
  Identifying the need for panel cleaning or maintenance.
  Identifying Faulty or Sub optimally performing equipment.

## Slide 4: Solar Power Plant Info.
Power Plant 1
  Number of panels (Modules) = 22
  Capacity per Panel = 15000 kW
  Inverter Rating (Transformer incl.) = 1500 kVA
Power Plant 2
  Number of panels (Modules) = 22
  Capacity per Panel = 1500 kW
  Inverter Rating (Transformer incl.) = 1500 kVA

## Slide 5: Insights
Daily generation data shows that the Plant 1 solar modules operate at higher efficiency (11.1%) higher than the Plant 2 Modules.
Solar power modules are intentionally installed higher capacity than inverters power to counter cloudy days & less irradiation. This leads to almost same average daily yield (3296 kWh for Plant 2 & 3295 kWh for Plant 2), despite plant 2 panels being less efficient.

## Slide 6: Insights
Plant 2 efficiency drops significantly from 0.97 to 0.63 during peak irradiance hours. This suggests that the plant 2 panels may have aged, or degraded, or failing.
As a result, Average hourly AC power output of plant 2 also drops or bottlenecks during peak irradiance hours. This leads to less capacity utilization.

## Slide 7: Key Insights
Plant 2 shows consistent drop in efficiency as compared to plant 1 (-11.1%).
Plant 2 records consistent more critical alerts everyday as compared to plant 1.
Plant 2 panels are less efficient than plant 1. These panels require maintenance.

## Slide 8: Operational Risk Areas For Plant 1
Plant 1 Panels that are underperforming:
  bvBOhCH3iADSZry.
  1BY6WEcLGh8j5v7.
These panels need cleaning/maintenance.

## Slide 9: Operational Risk Areas for Plant 2
Plant 2 Panels that are Failing:
  81aHJ1q11NBPMrL
  Et9kgGMDl729KT4
  LYwnQax7tkwH5Cb
  q49J1IKaHRwDQnt
  Quc1TzYxW2pYoWX
  rrq4fwE8jgrTyWY
Plant 2 Panels that need cleaning/maintenance:
  All panels except IQ2d7wF4YD8zU1Q and xMbIugepa2P7lBB needs maintenance.
Failing panels needs replacement and underperforming panels probably needs cleaning/maintenance.

## Slide 10: Recommendations and Impact
By Replacing the Failing panels and maintaining/cleaning the Underperforming panels, the plant operators can:
  Improve Solar Power Generation.
  Check bottlenecking issue.
  Increase efficiency of the overall system.

## Slide 11: Tools and Skills
Python, Pandas, Numpy
Data Validation
Data Engineering
Solar Power Energy Analysis
Energy and Power Sector Analysis